## Method
Method to the madness
1 | Searched for "temperature" in the CMC spreadsheet's ParameterEquipment pivot table (subset sampled only)
2 | Copied the names and counts of hits to a separate sheet
3 | Kept target items (RF power) and related ones to keep in mind (AC, DC, other), rough sorting by relevancy
4 | Repeated steps 1-3 for related terminology: "therm", "RTD", "PRT", "cell", "fixed"
5 | Gathered applicable info from ISO (quantities, defintions); BIPM, SP 811, RP-9, NVLAP, ANAB (categories, quantities, techniques, instruments)
6 | Clarified ambiguities as much as practical from normalized SoA table and SoA source data
7 | Prefixed unrelated quantities with "*Taxonomy TBD: " to sort them out for later use
8 | Successively collected SoA terms into less & less specific groups by deleting extraneous info & resorting
9 | Recognize that CMCs with ambiguous quantities will fit into MII quanitity definitions when available to document authors
10 | Develop MII quantity names and modifiers from reference taxonomy
11 | Assign MII quantity names and modifers to each SoA variant
12 | Notated substitute quantities (SQ), e.g., DC voltage for thermocouple (TC) simulation: requires standard conversion equation or SQ range for search by both quantities

## Reference Taxonomy
Source | Category Hierarchy |  |  |  | Quantity | Definition | Typical Influence Quantities | Typical Input Quantities | Other Selectors
MII | Thermodynamics |  | Temperature |  | Thermodynamic Temperature | the non-negative quantity proportional to an equilibriated system's particles' kinetic energy (heat) | TC inhomogeneity, fixed cell element purity, emissivity, wavelength, aperature diameter, dissipated power | DC voltage (TCs), resistance (RTDs, PRTs), current (filament pyrometers) | sensor type, with or w/o display
|  |  | Temperature Interval |  | Celsius Temperature | the thermodynamic temperature minus 273.15 K (a specially defined temperature difference) | TC inhomogeneity, emissivity, wavelength, aperature diameter, dissipated power | DC voltage (TCs), resistance (RTDs, PRTs), current (filament pyrometers) | sensor type, with or w/o display
[5 empty] | Fahrenheit Temperature | the Celsius temperature x 9/5 °F/°C + 32 °F | TC inhomogeneity, emissivity, wavelength, aperature diameter, dissipated power | DC voltage (TCs), resistance (RTDs, PRTs), current (filament pyrometers) | sensor type, with or w/o display
BIPM KCDB & CMCs | Area | Branch | Service | Sub-service | "Individual Service" | -
| Thermometry | Temperature | Items for defining ITS-90 | Complete apparatus realizing fixed-points | Apparatus for contact thermometry | -
[5 empty] | Apparatus for radiation thermometry | -
|  |  |  | Primary fixed-point cells | Cells for contact thermometry | -
[5 empty] | Cells for radiation thermometry | -
|  |  |  | SPRTs | Capsule-type SPRTs | -
[5 empty] | Long-stem SPRTs including HTSPRTs | -
|  |  |  | Standard radiation thermometers | Standard radiation thermometers | -
|  |  | Items for disseminating ITS-90 and PLTS 2000 | Liquid-in-gas thermometers | Liquid-in-gas thermometers | -
|  |  |  | Other measurement services | Bridge linearity | -
[5 empty] | Compensation wires for cold junction | -
[5 empty] | Dry-well block calibrators | -
[5 empty] | Phase-transition temperature of reference materials | -
[5 empty] | Temperature indicators | -
[5 empty] | Wires for melting-point measurements for thermocouples | -
|  |  |  | Other thermometers | Air temperature sensors | -
[5 empty] | Other thermometers | -
|  |  |  | Radiation thermometry | Radiation thermometers and optical pyrometers | -
[5 empty] | Secondary fixed-point blackbody cells and complete instruments | -
[5 empty] | Strip lamps | -
[5 empty] | Variable temperature blackbody radiation sources | -
|  |  |  | Resistance thermometers | Industrial PRTs | -
[5 empty] | Rhodium-iron resistance thermometers | -
[5 empty] | Thermistors and other resistance thermometers | -
|  |  |  | Secondary fixed-point cells and apparatus | Secondary fixed-point cells and apparatus for contact thermometry | -
|  |  |  | Temperature sensors with display unit | Temperature sensors with display unit | -
|  |  |  | Thermocouples | Base-metal thermocouples | -
[5 empty] | Noble-metal thermocouples | -
[5 empty] | Pure-metal thermocouples | -
ISO/IEC 80000 | Thermodynamics |  |  |  | thermodynamic temperature (5-1) | the non-negative quantity proportional to an equilibriated system's particles' kinetic energy (heat)
[5 empty] | dew point temperature, dew point (5-33) | the temperature at which vapor saturates in air
[5 empty] | Fahrenheit temperature (deprecated) | the Celsius temperature x 9/5 °F/°C + 32 °F
[5 empty] | Celsius temperature (5-2) | the thermodynamic temperature minus 273.15 K (a specially defined temperature difference)
NCSLI RP-9 | Temperature |  | Free-for-all subcategories |  | - | -
NVLAP Parameter Selection List | Thermodynamic |  | Laboratory Thermometers (T03) |  | See CMC data from SoAs (no further structure) | -
Radiation Thermometry (T06)
Resistance Thermometry (T07)
Temperature Indicators (T08)
Thermocouples (T11)
ANAB Calibration Scope | Thermodynamic |  | - |  | See CMC data from SoAs (no further structure)
NIST SP 811 | Temperature |  |  |  | thermodynamic temperature | -
| Temperature Interval |  |  |  | temperature difference | -
[5 empty] | Celsius temperature | -
Notes: The ISO 80000 quantities show their entry numbers in parentheses; see also Electropedia. The NVLAP entries have parameter codes in parentheses.

## Quantity Boil Down
ParameterEquipment | Count | Quantity Consolidation 1 | Quantity Consolidation 2 | MII Quantity:Modifier
Any PRT by Comparison to SPRT | 5 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Certification of Thermometric Fixed Point Cells | 16 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Digital Thermometer with PRT System by Comparison to SPRT | 5 | temperature, K | thermodynamic temp | Thermodynamic Temperature
High Quality PRT by Comparison to SPRT | 5 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Infrared Radiation Calibration of IRT [λ] | 5 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Infrared Radiation Measure [λ] | 5 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Platinum Resistance Thermometry & Resistance Temperature Devices (Fixed Points) | 8 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Resistance Thermometry | 22 | temperature, K | thermodynamic temp | Thermodynamic Temperature
SPRT at the TPW | 1 | temperature, K | thermodynamic temp | Thermodynamic Temperature
Calibration of Thermocouples and Thermocouple Wire | 8 | temperature, °F | Fahrenheit temperature | Fahrenheit Temperature
Thermocouples and Extension Wires for Furnaces & Ovens | 7 | temperature, °F | Fahrenheit temperature | Fahrenheit Temperature
Thermocouples Type K | 6 | temperature, °F | Fahrenheit temperature | Fahrenheit Temperature
Thermocouples Type N | 6 | temperature, °F | Fahrenheit temperature | Fahrenheit Temperature
Thermocouples Type T | 4 | temperature, °F | Fahrenheit temperature | Fahrenheit Temperature
Calibration of PRTs | 8 | temperature, °C | Celsius temperature | Celsius Temperature
Calibration of Thermocouple Indicators, Sensors and Sensing Systems | 48 | temperature, °C | Celsius temperature | Celsius Temperature
Calibration of Thermocouples – Measuring Equipment | 31 | temperature, °C | Celsius temperature | Celsius Temperature
Comparison Schedule 1 Single Power Calibration by Comparison High Quality PRTs | 9 | temperature, °C | Celsius temperature | Celsius Temperature
Comparison Schedule 2 Single Power Calibration by Comparison Any Quality PRTs | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Comparison Schedule Dry Block Calibration of PRTs | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Controlled Temperature Units – Measure | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Correlated Color Temperature | 7 | temperature, °C | Celsius temperature | Celsius Temperature
Digital Thermometers and Temperature Probes | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Digital Thermometry Indicators | 15 | temperature, °C | Celsius temperature | Celsius Temperature
Digital/Analog Temperature Indicators – Measure | 9 | temperature, °C | Celsius temperature | Celsius Temperature
Direct Calibration of Infrared Radiation Thermometers | 7 | temperature, °C | Celsius temperature | Celsius Temperature
Dry Well Temperature Measure | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Electrical Substitution of RTDs; Source using 5520A | 7 | temperature, °C | Celsius temperature | Celsius Temperature
Fixed Point Schedule 2 Routine Measurement Capability | 9 | temperature, °C | Celsius temperature | Celsius Temperature
Fixed Point Schedule Comparison– High Quality PRTs | 9 | temperature, °C | Celsius temperature | Celsius Temperature
Fixed Point Schedule Single Power Calibration any SPRTs | 9 | temperature, °C | Celsius temperature | Celsius Temperature
High Quality PRT calibration by comparison to SPRT | 9 | temperature, °C | Celsius temperature | Celsius Temperature
Infrared Temperature | 8 | temperature, °C | Celsius temperature | Celsius Temperature
Infrared Temperature – Measuring Equipment | 66 | temperature, °C | Celsius temperature | Celsius Temperature
Infrared Thermometers | 18 | temperature, °C | Celsius temperature | Celsius Temperature
Infrared Thermometers – Hart Furnace | 7 | temperature, °C | Celsius temperature | Celsius Temperature
In–situ Temperature Measurement | 13 | temperature, °C | Celsius temperature | Celsius Temperature
IR Temperature – Measuring Equipment | 6 | temperature, °C | Celsius temperature | Celsius Temperature
IR Temperature – Source | 8 | temperature, °C | Celsius temperature | Celsius Temperature
Laboratory Thermometers | 14 | temperature, °C | Celsius temperature | Celsius Temperature
Liquid in Glass Thermometers | 38 | temperature, °C | Celsius temperature | Celsius Temperature
Platinum Resistance Thermometers by Fixed Point | 16 | temperature, °C | Celsius temperature | Celsius Temperature
PRT calibration by comparison to High Quality PRT | 5 | temperature, °C | Celsius temperature | Celsius Temperature
RTD Temperature Measurement | 8 | temperature, °C | Celsius temperature | Celsius Temperature
RTD/IPRT/PRT | 4 | temperature, °C | Celsius temperature | Celsius Temperature
SPRT | 6 | temperature, °C | Celsius temperature | Celsius Temperature
SPRT calibration by Fixed Point Cells | 7 | temperature, °C | Celsius temperature | Celsius Temperature
SPRT Comparison | 3 | temperature, °C | Celsius temperature | Celsius Temperature
Standard Platinum Resistance Thermometer Calibrations | 14 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature | 78 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Analog and Digital Thermometers | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Comparison Calibration of Platinum Resistance Thermometers | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Digital Thermometers, PRTs, RTDs, Thermistors, Thermocouples, Liquid–in–Glass Thermometers, Temperature Recorders and Loggers | 11 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Direct Method | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Fixed Points | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Generate | 23 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Generate & Measure | 7 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Infrared | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Infrared – Source | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Infrared Thermometry | 7 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – IR Systems | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measure | 328 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measure & Measuring Equipment | 32 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measure , Fixed Points | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Devices | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment | 148 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment Calibration Bath | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment Calibration of RTDs | 10 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment Calibration of Thermocouples | 138 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment Dry Blocks | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment Triple Point Cell | 1 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment, IR Thermometers | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Equipment, Thermocouples | 7 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Instruments | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Instruments in Air | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Measuring Systems | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Sensor – Thermocouples | 30 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Sensors (Thermocouples, SPRTs,RTDs, PRTs) | 2 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Source | 44 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature – Thermometers and Probes | 12 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature / Thermometers | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature Controllers | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature Indicator with Sensor | 17 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature IR – Measuring Equipment Black Body | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature Measure | 21 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature Measure Fixed Point | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Temperature, Infrared – Source | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Test and Calibration of RTDs | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Test and Calibration of Thermocouples – 32 °F to 800 °F | 26 | temperature, °C | Celsius temperature | Celsius Temperature
Thermistors | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouple Devices | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouple Indicators | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouple Probes | 31 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples | 89 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples – Generate & Measure | 18 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples – Indicating Systems & Measure | 52 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples – Measure | 18 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples – Measuring Equipment and Measure | 45 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples – Noble Metal | 14 | temperature, °C | Celsius temperature | Celsius Temperature
Thermocouples – Source and Measure | 46 | temperature, °C | Celsius temperature | Celsius Temperature
Thermometers – Liquid–in–Glass, Electronic, Bi Metal | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Thermometers – Measure and Measuring Equipment | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Thermometers by Comparison | 5 | temperature, °C | Celsius temperature | Celsius Temperature
Type C | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Type E | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Type K | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Type N | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Type R Thermocouple | 4 | temperature, °C | Celsius temperature | Celsius Temperature
Type T | 6 | temperature, °C | Celsius temperature | Celsius Temperature
Type T Thermocouple | 4 | temperature, °C | Celsius temperature | Celsius Temperature
With Base–metal Thermocouple System | 11 | temperature, °C | Celsius temperature | Celsius Temperature
Electrical Calibration of Thermocouple Reference Junction | 4 | SQ for temperature, K | SQ for thermo temp | Thermodynamic Temperature (with SQ equation)
Electrical Calibration of Temperature Indicating Systems | 7 | SQ for temperature, °F | SQ for Fahrenheit temp | Fahrenheit Temperature (with SQ equation)
Digital/Analog Temperature Indicators – Simulated | 9 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD – Generate | 27 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD – Generate and Measure | 43 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD Indicating Systems – Generate | 20 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD Indicators – Generate Pt 385, 100 Ω | 7 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD Indicators – Simulation | 22 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD Indicators & Indicating System | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTD– Measure | 16 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of RTDs – Measuring Equipment and Measure | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Temperature Recorders | 9 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple – Generate and Measure | 55 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple & Thermocouple Indicating Systems | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Devices | 441 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Devices – Measure and Generate | 32 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Devices Field calibrations Available | 113 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Devices | 104 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Devices – Generate & Measure | 20 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Devices – Measure and Generate | 46 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Devices Measure | 16 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Devices Source | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Systems | 61 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Systems – Generate | 42 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Systems – Simulation | 43 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicating Systems – Source | 27 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indication Systems | 36 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators | 444 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators – Generate | 37 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators – Generate & Measure | 72 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators – Generate/Measure | 32 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators – Measure & Simulate | 16 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators – Recorders, Controllers, & Calibrators | 41 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators & Indicating Systems | 128 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Indicators and Indicating Systems | 101 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouple Systems – Measure | 31 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples | 53 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples – Generate & Measure | 42 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples – Generate and Measure | 110 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples – Measure | 36 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples – Thermocouple Simulation | 14 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples & Indicators | 43 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples and Indicators | 44 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Calibration of Thermocouples and Thermocouple Indicating Devices – Measure and Generate | 32 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation and Calibration of Thermocouples – Generate and Measure | 7 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of PRT | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of RTD | 41 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of RTD Indicating Devices | 163 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of RTD Indicating Devices – Generate | 41 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of RTD Indicating Systems and Measure | 41 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of RTD Indicators | 130 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of RTDs | 862 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Temperature Indicators | 25 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple | 32 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple – Generate | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple and Thermocouple Indicating Devices – Measure & Generate | 43 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Devices | 163 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Devices; Source and Measure | 13 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Indicating Devices | 215 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Indicating Devices – Source and Measure | 37 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Indicators | 623 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Indicators – Source and Measure | 97 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouple Indicators & Indicating Systems | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouples | 862 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouples – Generate | 106 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouples – Generate and Measure | 14 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouples – Measure | 62 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouples – Measure and Measuring Equipment Field calibrations Available | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Simulation of Thermocouples – Source & Measure | 44 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Stimula tion of Thermocouples | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Electrical Stimulation of Thermocouple | 23 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Measurement of PRT Simulators | 2 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Millivolt Thermocouple Simulation | 47 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Resistance RTD Simulation Cu 427, 10 Ω | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Resistance Temperature Simulation | 41 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Resistance Temperature Simulation | 41 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
RTD – Measuring Equipment & Measure | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
RTD Millivolt Simulation | 50 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
RTD Simulation – Generate | 43 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Temperature – RTD Simulated Generate | 7 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Millivolt Simulation | 59 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple millivolt simulation Type C | 5 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple millivolt simulation Type J | 5 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple millivolt simulation Type K | 5 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple millivolt simulation Type R | 4 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple millivolt simulation Type S | 4 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Readout Methods | 6 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Simulation | 281 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Simulation | 4 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Simulation – Generate & Measure | 27 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Simulation – Measuring Equipment and Measure | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Simulation Source & Measure | 19 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Simulator Methods | 6 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermocouple Temperature Simulation | 42 | SQ for temperature, °C | SQ for Celsius temp | Celsius Temperature (with SQ equation)
Thermal Noise – Coaxial | 6 | *Taxonomy TBD: RF | *Other, Taxonomy TBD | TBD
Thermal Noise – Measure | 54 | *Taxonomy TBD: RF | *Other, Taxonomy TBD | TBD
Thermal Noise – Waveguide (26.5 to 50) GHz (5 to 30) dB ENR | 19 | *Taxonomy TBD: RF | *Other, Taxonomy TBD | TBD
Thermal Noise – Waveguide (75 to 110) GHz (3 to 30) dB ENR | 15 | *Taxonomy TBD: RF | *Other, Taxonomy TBD | TBD
Dew Point Temperature | 5 | *Taxonomy TBD: humidity | *Other, Taxonomy TBD | TBD

## Technique Boil Down
Unique terms from BIPM CMCs | Technique Consolidation 1
3-zone furnace, seal cell
Adiabatic cryostat, sealed cell
Aluminium freezing point
Ambient temperature: (23 ± 1) °C
Argon triple point
Bath: acetone
Bath: temperature controlled alumina powder-in air fluid bath
Caesium blackbody
Calibration against blackbody source or lamp
Calibration at C-Co melting point
Calibration at water triple point
Calibration by comparison at one temperature
Calibration by reference blackbody
Calibration in LN2 and at mercury triple point
Cell for contact thermometry
Comparison bath: distilled water
Comparison bath: ethanol
Comparison bath: liquid N2
Comparison bath: methyl pentane
Comparison bath: oil
Comparison bath: salt
Comparison through radiance comparator
Comparison to high-temperature blackbody
Comparison to strip lamp
Comparison to water-bath blackbody
Comparison using variable temperature blackbody furnace
Comparison with contact thermometer in variable temperature blackbody
Comparison with HSPRTs/ TCs in furnace
Comparison with pyrolytic-graphite blackbody
Comparison with reference Na-heatpipe blackbody
Comparison with SPRT in cryobath, water bath and oil bath
Comparison with SPRTs
Comparison with SPRTs in baths
Comparison with SPRTs in baths / furnace
Comparison with standard Pt-PtRh thermocouples
Comparison with standard radiation thermometer
Copper point
Cryostat, seal cell
Cu, Ag, Al, Zn, ice
Direct comparison with reference cell
Direct scale realization by measurement of relative spectral responsivity
Dry Calibrator |  | `
Electrically heated tubular one zone furnace
Extrapolation from lower temperature measurements
Fixed point cells: Au, Ag, Al and Zn cells, ice bath
Fixed point: ice melting point
Fixed points: WTP, Sn, Zn
Fixed-point cells: Ar, Hg, H2O
Fixed-point cells: H2O, Ga
Fixed-point cells: H2O, In, Sn
Fixed-point cells: H2O, Sn, Zn, Al, Ag
Fixed-point cells: Hg, H2O, Ga
Fluidised alumina or salt bath
Gallium melting point
Gallium melting point cell
Heat-pipe furnace
HTSPRT
Indium freezing point
Isothermal cryostat
ITS 90 fixed points
Liquid nitrogen calibrator: liquid nitrogen
Mercury triple point
Mercury triple point cell
Neon triple point
Ni-Cr tube furnace, ice bath
Noble-metal thermocouples (Pt/Pd)
Noble-metal thermocouples (Types R, S)
Oil bath
Oxygen triple point
Pressure-controlled liquid nitrogen bath
seal cell and furnace
Sealed cells: Hg, Ga, Sn, Zn
SiC tube furnace, ice bath
Silver freezing point
Single zone low temperature furnace
Sodium blackbody
Sodium heatpipe
Stirred liquid bath: liquid is alcohol
Stirred liquid bath: liquid is oil
Stirred liquid bath: liquid is salt
Stirred liquid bath: liquid is water
Temperature controlled bath
Temperature. Noble-metal thermocouples (Type B)
Thermistor
Thermometer: Hg, partial immersion, 0.1 °C graduation; comparison calibration
Thermostatized bath with alcohol
Thermostatized bath with an Ethylene Glycol-water mixture
Tin freezing point
Tin freezing point cell
Total immersion, comparison with SPRT
Total immersion, Mercury, 0.1 °C/div
Tube furnace: 3-zone or 5-zone CrFeAl heating coil
Water bath
Water triple point
Zinc freezing point
Zinc freezing point cell
Add more from SoA data

## Object Boil Down
Unique terms from BIPM CMCs | Object Consolidation 1
Aluminium cell
Argon cell
Au/Pt pure metal thermocouple
Base metal thermocouple Type T, E, J, N, K
Base metal thermocouples eg. Type K, J, N
Base-metal thermocouples (Types K, N)
Base-metal thermocouples (Types T, K, N)
Capsule SPRT
Cell for contact thermometry
CSPRT
Digital system thermometers
Digital thermometer with resistance temperature sensor
Digital thermometers: IPRT or SPRT
Digital thermometers: thermocouple
Disappearing filament optical pyrometer
Disappearing filament optical pyrometer
Electronical thermometer with base metal thermocouples
Electronical thermometer with Pt 100, 0.01 ºC resolution
Electronical thermometer with RTD sensor, 0.1 ºC resolution
Fixed-point blackbody furnace (Ag)
Fixed-point blackbody furnace (Cu)
Gallium cell
Hydrogen triple-point cell for CSPRT
Indium cell
Industrial PRTS
Infrared radiation thermometer
Isothermal block in temperature controlled furnace
Liquid-in-glass thermometers
Long stem SPRT
Long-stem HTSPRT
LSPRT
Mercury cell
Mercury in glass thermometers with 0.02 ºC resolution
Mercury in glass thermometers with 0.05 ºC resolution
Mercury-in-glass thermometer 0.1 °C graduation
Mercury-in-glass thermometer 0.2 °C graduation
Mercury-in-glass thermometer 0.5 °C graduation
Noble metal thermocouple Type S, R, B
Noble-metal thermocouples type Au/Pt
Pd/Pt thermocouple
PRT
Radiation thermometer
Resistance thermometer
RIRT
Sealed lambda-point cell
SPRT
Standard Type S thermocouples
Strip lamp - evacuated
Strip lamp - gas-filled
Superconductive reference-point samples
Temperature Sensors with Display Unit
Thermistors
Thermocouple compensation wire
Tungsten strip lamp
Type B thermocouples
Type E thermocouples
Type J thermocouples
Type K thermocouples
Type N thermocouples
Type R thermocouples
Type S thermocouples
Type T thermocouples
Variable temperature blackbody
Variable temperature blackbody radiation source
Visual optical pyrometer
Water triple point cell
Zinc cell
Add more from SoA data